## NDO
NITROGEN DIOXIDE IN DIFFUSION TUBES BY U.V.SPECTROPHOTOMETRY
REPORT NUMBER | L02272R
BOOKING IN REFERENCE | L02272
DESPATCH NOTE | 35005
CUSTOMER | Client Earth Attn: ANDREA LEE
The Hothouse 274 Richmond Road London E8 3QW
DATE SAMPLES RECEIVED | 2017-03-28
|  | Exposure Data |  |  |  |  | TOTAL
Location | Sample Number | Date On | Date Off | Time (hr.) | mg/m3 * | ppb * | µg NO2
Couronne | 863552 | 2017-02-19 | 2017-03-20 | 692.1167 | 43.095 | 22.4922 | 2.1678
Couronne | 863551 | 2017-02-19 | 2017-03-20 | 692.1167 | 41.61 | 21.7171 | 2.0931
Couronne | 863550 | 2017-02-19 | 2017-03-20 | 692.1167 | 42.2521 | 22.0522 | 2.1254
Belliard (SX) | 863549** | 2017-02-19 | 2017-03-20 | 691.9667 | 69.2238 | 36.1293 | 3.4814
Belliard (DX) | 863548** | 2017-02-19 | 2017-03-20 | 691.9667 | 72.445 | 37.8106 | 3.6434
Rue De La Loi (SX) | 863547** | 2017-02-19 | 2017-03-20 | 691.5833 | 105.7057 | 55.17 | 5.3132
Rue De La Loi (DX) | 863546** | 2017-02-19 | 2017-03-20 | 691.5833 | 91.0074 | 47.4986 | 4.5744
Arts - Loi (Regent) | 863545** | 2017-02-19 | 2017-03-20 | 691.3333 | 71.9263 | 37.5398 | 3.614
Avenue Des Arts (US Embassy) | 863544** | 2017-02-19 | 2017-03-20 | 691.0333 | 99.4423 | 51.901 | 4.9944
Esplanade EP | 863543 | 2017-02-19 | 2017-03-20 | 690.2833 | 30.959 | 16.1581 | 1.5532
Laboratory Blank |  |  |  | 692.1167 | 0.37771 | 0.19714 | 0.019
Comment: Results are not blank subtracted
Tubes marked ** were diluted to read within our UKAS accredited calibration range.
Results have been corrected to a temperature of 293 K (20°)
Overall M.U. | ±7.8% |  | Limit of Detection |  | 0.070mgNO2
Tube Preparation: 50% TEA /Acetone |  |  | Analysed on UV05 Camspec M550
Analyst Name | Zoe Munday |  | Report Checked By |  | Adam Robinson
Date of Analysis | 2017-04-03 |  | Date of Report |  | 2017-04-03
Analysis carried out in accordance with documented in-house Laboratory Method GLM7
This Excel report is not secure or tamperproof.
The Diffusion Tubes have been tested within the scope of Gradko International Ltd. Laboratory Quality Procedures. Calculations and assessments involving the exposure procedures and periods provided by the client are not within the scope of our UKAS Accreditation. Those results obtained using exposure data shall be indicated by an asterisk. Any queries concerning the data in this report should be directed to the Laboratory Manager Gradko International Ltd. This report is not to be reproduced, except in full, without the written permission of Gradko International Ltd.